## Slide 1: Gamma Spectroscopy
Kitty Harris and Josh Eslarboukh

## Slide 2: Gamma Decay
Gamma Decay is the emission of a high-energy photon (O~0.01-10[MeV]) due to an excited nucleon returning to the ground state.
  It is also possible for change in state to result in pair production if, but the pair will annihilate.
Excited nucleons result from other radioactive decay.
  Alpha Decay: Ejection of a 4He nucleus.
  Beta Decay: or .
Isotopes have unique nucleon states and therefore gamma frequencies ().
  Repulsive electromagnetic force between protons — no cutoff point.
  Attractive strong force between nucleons – cutoff point.

## Slide 3: Gamma Ray interactions

## Slide 4: Scintillator / PMT / Amplifier

## Slide 5: Multichannel Analyzer
Analyzes a signal consisting primarily of pulses
Each channel corresponds to an incoming voltage and therefore to a given energy.
  Inputs are listed simply as channel numbers; outputs are counts.
  Each count corresponds to one pulse at the associated energy.
  Can be analog or digital. Ours uses an analog-to-digital converter.
Most are hooked up to computers for analysis, but newer models may have their own microprocessors.
Sample output from the Multichannel Analyzer. (Control Data)
Pulse Height Analyzer: Mode that sorts pulses according to amplitude
Multichannel Scaler: Mode that sorts pulses by time of arrival.

## Slide 6: Linear Regression

## Slide 7: Error Propagation
Step 1: Finding bins for known values – uncertainty is given in MATLAB based on χ2.
Step 2: Calibration Curve – uncertainty is given in Python by a covariance matrix based on a weighted curve fit.
Step 3: Final Value – uncertainty is calculated by hand.
Energy [MeV] | Uncertainty [MeV]
0.670 | 0.007
0.024 | 0.007
0.072 | 0.007
1.16 | 0.01
0.662 [MeV]: 137Cs. 0.511, 1.115[MeV]: 65Zn

## Slide 8: Further Reading
AMTEK Inc. (2015). Multichannel Analyzers. Retrieved from Ortec: https://www.ortec-online.com/products/electronics/multichannel-analyzers-mca
Gammma Energies. (n.d.). Retrieved from cpp.edu: https://www.cpp.edu/%7Epbsiegel/bio431/genergies.html
Multichannel Pulse Analysis. (n.d.). Retrieved from http://faculty.kfupm.edu.sa/phys/aanaqvi/NaqEmploy_files/Text%20ch18-20%20GK%20Radiation-text.pdf
Nuclear Power for Everybody. (2019). Interaction of Gamma Radiation with Matter. Retrieved from Nuclear Power: https://www.nuclear-power.net/nuclear-power/reactor-physics/interaction-radiation-matter/interaction-gamma-radiation-matter/
Physics 359E. (n.d.). The Multichannel Analyzer. http://www.astro.uwo.ca/~jlandstr/p359/writeup/mca.pdf
The Editors of Encyclopedia Brittanica. (2019). Gamma Decay. Retrieved from Encyclopedia Brittanica: https://www.britannica.com/science/gamma-decay
webmaster. (2000, August 9). Beta Decay. Retrieved from Guide to the Nuclear Wallchart: https://www2.lbl.gov/abc/wallchart/chapters/03/2.html
Yokamika, R. (2016, January 11). Formula for Gamma Radiation. Retrieved from Gamma Radiation: http://gammaradiationjishikuza.blogspot.com/2016/01/formula-for-gamma-radiation.html